## IMPORT
Hie | IDX | Level | Parent | Node | Description | Method | Contains_Att | Contains_Val | Between_Att | Between_Lo | Between_Hi
HIE_TCZ2 | 4 | 1 | _ROOT | SIT004 | M4 Control Centre | Children |  |  |  | 3121.8989 | 3543.98
HIE_TCZ2 | 3 | 1 | _ROOT | SIT003 | St Peters Interchange | Children |  |  |  | 1213.3333 | 1223.33
HIE_TCZ2 | 2 | 1 | _ROOT | SIT002 | Pyrmont Bridge Road | Children | LOC_NODE
HIE_TCZ2 | 1 | 1 | _ROOT | SIT001 | Haberfield | Children
HIE_TCZ2 | 48 | 2 | SIT004 | TCP008 | WDRS | Children
HIE_TCZ2 | 47 | 2 | SIT003 | TCP007 | WMCC | Children
HIE_TCZ2 | 46 | 2 | SIT003 | TCP006 | Power Zone 6 | Children
HIE_TCZ2 | 45 | 2 | SIT003 | TCP005 | Power Zone 5 | Children
HIE_TCZ2 | 44 | 2 | SIT002 | TCP004 | Power Zone 4 | Children
HIE_TCZ2 | 43 | 2 | SIT002 | TCP003 | Power Zone 3 | Children
HIE_TCZ2 | 42 | 2 | SIT001 | TCP002 | Power Zone 2 | Children
HIE_TCZ2 | 41 | 2 | SIT001 | TCP001 | Power Zone 1 | Children
HIE_TCZ2 | 117 | 3 | TCP008 | TCZ308 | WDRS Buildings | Children
HIE_TCZ2 | 116 | 3 | TCP007 | TCZ307 | WMCC Buildings | Children
HIE_TCZ2 | 115 | 3 | TCP006 | TCZ310 | Other Areas | Children
HIE_TCZ2 | 114 | 3 | TCP006 | TCZ309 | Exhaust Air Tunnel | Children
HIE_TCZ2 | 113 | 3 | TCP006 | TCZ306 | Ventilation Tunnels | Children
HIE_TCZ2 | 112 | 3 | TCP006 | TCZ305 | Venitlation Buildings | Children
HIE_TCZ2 | 107 | 3 | TCP006 | TCZ216 | Ramp Zone 16 (St Peters Interchange Ramp) | Children
HIE_TCZ2 | 106 | 3 | TCP006 | TCZ215 | Ramp Zone 15 (St Peters Interchange Fire Rescue NSW) | Children
HIE_TCZ2 | 105 | 3 | TCP006 | TCZ214 | Ramp Zone 14 (ROI Fire Rescue NSW) | Children
HIE_TCZ2 | 104 | 3 | TCP006 | ESS06 | Electrical Substation 6 | Children
HIE_TCZ2 | 103 | 3 | TCP005 | TCZ304 | Supply Air Tunnel | Children
HIE_TCZ2 | 102 | 3 | TCP005 | TCZ032 | Tunnel Zone 32 | Children
HIE_TCZ2 | 101 | 3 | TCP005 | TCZ031 | Tunnel Zone 31 | Children
HIE_TCZ2 | 100 | 3 | TCP005 | TCZ030 | Tunnel Zone 30 | Children
HIE_TCZ2 | 99 | 3 | TCP005 | TCZ029 | Tunnel Zone 29 | Children
HIE_TCZ2 | 98 | 3 | TCP005 | TCZ028 | Tunnel Zone 28 | Children
HIE_TCZ2 | 97 | 3 | TCP005 | TCZ027 | Tunnel Zone 27 | Children
HIE_TCZ2 | 96 | 3 | TCP005 | TCZ026 | Tunnel Zone 26 | Children
HIE_TCZ2 | 95 | 3 | TCP005 | TCZ025 | Tunnel Zone 25 | Children
HIE_TCZ2 | 94 | 3 | TCP005 | ESS05 | Electrical Substation 5 | Children
HIE_TCZ2 | 93 | 3 | TCP004 | TCZ024 | Tunnel Zone 24 | Children
HIE_TCZ2 | 92 | 3 | TCP004 | TCZ023 | Tunnel Zone 23 | Children
HIE_TCZ2 | 91 | 3 | TCP004 | TCZ022 | Tunnel Zone 22 | Children
HIE_TCZ2 | 90 | 3 | TCP004 | TCZ021 | Tunnel Zone 21 | Children
HIE_TCZ2 | 89 | 3 | TCP004 | TCZ020 | Tunnel Zone 20 | Children
HIE_TCZ2 | 88 | 3 | TCP004 | TCZ019 | Tunnel Zone 19 | Children
HIE_TCZ2 | 87 | 3 | TCP004 | TCZ018 | Tunnel Zone 18 | Children
HIE_TCZ2 | 86 | 3 | TCP004 | ESS04 | Electrical Substation 4 | Children
HIE_TCZ2 | 85 | 3 | TCP006 | TCZ213 | Ramp Zone 13 (ROI Fire Rescue NSW) | Children
HIE_TCZ2 | 84 | 3 | TCP006 | TCZ212 | Ramp Zone 12 (ROI Fire Rescue NSW) | Children
HIE_TCZ2 | 83 | 3 | TCP003 | TCZ211 | Ramp Zone 11 (ROI Fire Rescue NSW) | Children
HIE_TCZ2 | 82 | 3 | TCP006 | TCZ210 | Ramp Zone 10 (ROI Fire Rescue NSW) | Children
HIE_TCZ2 | 81 | 3 | TCP003 | TCZ209 | Ramp Zone 09 (ROI Fire Rescue NSW) | Children
HIE_TCZ2 | 80 | 3 | TCP003 | TCZ208 | Ramp Zone 08 (ROI Fire Rescue NSW) | Children
HIE_TCZ2 | 79 | 3 | TCP003 | TCZ017 | Tunnel Zone 17 | Children
HIE_TCZ2 | 78 | 3 | TCP003 | TCZ016 | Tunnel Zone 16 | Children
HIE_TCZ2 | 77 | 3 | TCP003 | TCZ015 | Tunnel Zone 15 | Children
HIE_TCZ2 | 76 | 3 | TCP003 | TCZ014 | Tunnel Zone 14 | Children
HIE_TCZ2 | 75 | 3 | TCP003 | TCZ013 | Tunnel Zone 13 | Children
HIE_TCZ2 | 74 | 3 | TCP003 | TCZ012 | Tunnel Zone 12 | Children
HIE_TCZ2 | 73 | 3 | TCP003 | TCZ011 | Tunnel Zone 11 | Children
HIE_TCZ2 | 72 | 3 | TCP003 | TCZ010 | Tunnel Zone 10 | Children
HIE_TCZ2 | 71 | 3 | TCP003 | ESS03 | Electrical Substation 3 | Children
HIE_TCZ2 | 70 | 3 | TCP002 | TCZ303 | Sump Pump Room | Children
HIE_TCZ2 | 69 | 3 | TCP002 | TCZ302 | Sump Pump 2 | Children
HIE_TCZ2 | 68 | 3 | TCP002 | TCZ301 | Sump Pump 1 | Children
HIE_TCZ2 | 67 | 3 | TCP002 | TCZ009 | Tunnel Zone 09 | Children
HIE_TCZ2 | 66 | 3 | TCP002 | TCZ008 | Tunnel Zone 08 | Children
HIE_TCZ2 | 65 | 3 | TCP002 | TCZ007 | Tunnel Zone 07 | Children
HIE_TCZ2 | 64 | 3 | TCP002 | TCZ006 | Tunnel Zone 06 | Children
HIE_TCZ2 | 63 | 3 | TCP002 | TCZ005 | Tunnel Zone 05 | Children
HIE_TCZ2 | 62 | 3 | TCP002 | TCZ004 | Tunnel Zone 04 | Children
HIE_TCZ2 | 61 | 3 | TCP002 | ESS02 | Electrical Substation 2 | Children
HIE_TCZ2 | 60 | 3 | TCP003 | TCZ207 | Ramp Zone 07 (WS Fire Rescue NSW) | Children
HIE_TCZ2 | 59 | 3 | TCP001 | TCZ206 | Ramp Zone 06 (WS Fire Rescue NSW) | Children
HIE_TCZ2 | 58 | 3 | TCP001 | TCZ205 | Ramp Zone 05 (Wattle Ramp) | Children
HIE_TCZ2 | 57 | 3 | TCP001 | TCZ204 | Ramp Zone 04 (Wattle Ramp) | Children
HIE_TCZ2 | 56 | 3 | TCP001 | TCZ203 | Ramp Zone 03 (Wattle Ramp) | Children
HIE_TCZ2 | 55 | 3 | TCP001 | TCZ202 | Ramp Zone 02 (Wattle Ramp) | Children
HIE_TCZ2 | 54 | 3 | TCP001 | TCZ201 | Ramp Zone 01 (Wattle Ramp) | Children
HIE_TCZ2 | 53 | 3 | TCP001 | TCZ003 | Tunnel Zone 03 | Children
HIE_TCZ2 | 52 | 3 | TCP001 | TCZ002 | Tunnel Zone 02 | Children
HIE_TCZ2 | 51 | 3 | TCP001 | TCZ001 | Tunnel Zone 01 | Children
HIE_TCZ2 | 50 | 3 | TCP001 | PRVF | Parramatta Road Ventilation Facility | Children
HIE_TCZ2 | 49 | 3 | ESS01 | ESS01 | Electrical Substation 1 - Zone | Children
HIE_TCZ2 | 592 | 4 | TCZ216 | SXP01_EER | St Peters Interchange Ramp Cross Passage 01 | Contains | LOC_NODE | SXP01_EER
HIE_TCZ2 | 591 | 4 | TCZ216 | SXP01 | St Peters Interchange Ramp Cross Passage 01 | Contains | LOC_NODE | SXP01_EXD2
HIE_TCZ2 | 590 | 4 | TCZ216 | SXP01 | St Peters Interchange Ramp Cross Passage 01 | Contains | LOC_NODE | SXP01_EXD1
HIE_TCZ2 | 589 | 4 | TCZ216 | SXP01 | St Peters Interchange Ramp Cross Passage 01 | Contains | LOC_NODE | SXP01_EP
HIE_TCZ2 | 586 | 4 | TCZ215 | SXP03 | St Peters Interchange Ramp Cross Passage 03 | Contains | LOC_NODE | SXP03_EXD2
HIE_TCZ2 | 585 | 4 | TCZ215 | SXP03 | St Peters Interchange Ramp Cross Passage 03 | Contains | LOC_NODE | SXP03_EXD1
HIE_TCZ2 | 584 | 4 | TCZ215 | SXP03 | St Peters Interchange Ramp Cross Passage 03 | Contains | LOC_NODE | SXP03_EP
HIE_TCZ2 | 583 | 4 | TCZ215 | SXP02_EER | St Peters Interchange Ramp Cross Passage 02 | Contains | LOC_NODE | SXP02_EER
HIE_TCZ2 | 582 | 4 | TCZ215 | SXP02 | St Peters Interchange Ramp Cross Passage 02 | Contains | LOC_NODE | SXP02_EXD2
HIE_TCZ2 | 581 | 4 | TCZ215 | SXP02 | St Peters Interchange Ramp Cross Passage 02 | Contains | LOC_NODE | SXP02_EXD1
HIE_TCZ2 | 580 | 4 | TCZ215 | SXP02 | St Peters Interchange Ramp Cross Passage 02 | Contains | LOC_NODE | SXP02_EP
HIE_TCZ2 | 577 | 4 | TCZ214 | SXP05 | St Peters Interchange Ramp Cross Passage 05 | Contains | LOC_NODE | SXP05_EXD2
HIE_TCZ2 | 576 | 4 | TCZ214 | SXP05 | St Peters Interchange Ramp Cross Passage 05 | Contains | LOC_NODE | SXP05_EXD1
HIE_TCZ2 | 575 | 4 | TCZ214 | SXP05 | St Peters Interchange Ramp Cross Passage 05 | Contains | LOC_NODE | SXP05_EP
HIE_TCZ2 | 574 | 4 | TCZ214 | SXP04_EER | St Peters Interchange Ramp Cross Passage 04 | Contains | LOC_NODE | SXP04_EER
HIE_TCZ2 | 573 | 4 | TCZ214 | SXP04 | St Peters Interchange Ramp Cross Passage 04 | Contains | LOC_NODE | SXP04_EXD2
HIE_TCZ2 | 572 | 4 | TCZ214 | SXP04 | St Peters Interchange Ramp Cross Passage 04 | Contains | LOC_NODE | SXP04_EXD1
HIE_TCZ2 | 571 | 4 | TCZ214 | SXP04 | St Peters Interchange Ramp Cross Passage 04 | Contains | LOC_NODE | SXP04_EP
HIE_TCZ2 | 568 | 4 | TCZ213 | SXP07 | St Peters Interchange Ramp Cross Passage 07 | Contains | LOC_NODE | SXP07_EXD2
HIE_TCZ2 | 567 | 4 | TCZ213 | SXP07 | St Peters Interchange Ramp Cross Passage 07 | Contains | LOC_NODE | SXP07_EXD1
HIE_TCZ2 | 566 | 4 | TCZ213 | SXP07 | St Peters Interchange Ramp Cross Passage 07 | Contains | LOC_NODE | SXP07_EP
HIE_TCZ2 | 565 | 4 | TCZ213 | SXP06 | St Peters Interchange Ramp Cross Passage 06 | Contains | LOC_NODE | SXP06_EXD2
HIE_TCZ2 | 564 | 4 | TCZ213 | SXP06 | St Peters Interchange Ramp Cross Passage 06 | Contains | LOC_NODE | SXP06_EXD1
HIE_TCZ2 | 563 | 4 | TCZ213 | SXP06 | St Peters Interchange Ramp Cross Passage 06 | Contains | LOC_NODE | SXP06_EP
HIE_TCZ2 | 562 | 4 | TCZ213 | SXP06 | St Peters Interchange Ramp Cross Passage 06 | Contains | LOC_NODE | SXP06_EER2
HIE_TCZ2 | 561 | 4 | TCZ213 | SXP06 | St Peters Interchange Ramp Cross Passage 06 | Contains | LOC_NODE | SXP06_EER1
HIE_TCZ2 | 560 | 4 | TCZ216 | TCS316 | Ramp Zone 16 Ramp Section 2 (M190) | Contains | LOC_NODE | SPI EXIT_ROAD
HIE_TCZ2 | 559 | 4 | TCZ216 | TCS216 | Ramp Zone 16 Ramp Section 1 (M180) | Contains | LOC_NODE | SPI ENTRY_ROAD
HIE_TCZ2 | 558 | 4 | TCZ212 | SXP08 | St Peters Interchange Ramp Cross Passage 08 | Contains | LOC_NODE | SXP08_EXD2
HIE_TCZ2 | 557 | 4 | TCZ212 | SXP08 | St Peters Interchange Ramp Cross Passage 08 | Contains | LOC_NODE | SXP08_EXD1
HIE_TCZ2 | 556 | 4 | TCZ212 | SXP08 | St Peters Interchange Ramp Cross Passage 08 | Contains | LOC_NODE | SXP08_EP
HIE_TCZ2 | 555 | 4 | TCZ212 | SXP08 | St Peters Interchange Ramp Cross Passage 08 | Contains | LOC_NODE | SXP08_EER2
HIE_TCZ2 | 554 | 4 | TCZ212 | SXP08 | St Peters Interchange Ramp Cross Passage 08 | Contains | LOC_NODE | SXP08_EER1
HIE_TCZ2 | 553 | 4 | TCZ216 | TCS316 | Ramp Zone 16 Section 2 (M190 - SPXP01 ) | Contains_Between | LOC_NODE | SPI EXIT_ROAD | Chainage | 1040 | 1196.8065
HIE_TCZ2 | 552 | 4 | TCZ216 | TCS216 | Ramp Zone 16 Section 1 (M180 - SPXP01 ) | Contains_Between | LOC_NODE | SPI ENTRY_ROAD | Chainage | 1040 | 1188.4305
HIE_TCZ2 | 551 | 4 | TCZ215 | SFXP03 | St Peters Interchange Fire Rescue NSW Cross Passage 03 | Contains | LOC_NODE | SFXP03_XP
HIE_TCZ2 | 550 | 4 | TCZ215 | SFXP03 | St Peters Interchange Fire Rescue NSW Cross Passage 03 | Contains | LOC_NODE | SFXP03_FXD2
HIE_TCZ2 | 549 | 4 | TCZ215 | SFXP03 | St Peters Interchange Fire Rescue NSW Cross Passage 03 | Contains | LOC_NODE | SFXP03_FXD1
HIE_TCZ2 | 548 | 4 | TCZ215 | SFXP02_EER | St Peters Interchange Fire Rescue NSW Cross Passage 02 | Contains | LOC_NODE | SFXP02_EER
HIE_TCZ2 | 547 | 4 | TCZ215 | SFXP02 | St Peters Interchange Fire Rescue NSW Cross Passage 02 | Contains | LOC_NODE | SFXP02_XP
HIE_TCZ2 | 546 | 4 | TCZ215 | SFXP02 | St Peters Interchange Fire Rescue NSW Cross Passage 02 | Contains | LOC_NODE | SFXP02_FXD2
HIE_TCZ2 | 545 | 4 | TCZ215 | SFXP02 | St Peters Interchange Fire Rescue NSW Cross Passage 02 | Contains | LOC_NODE | SFXP02_FXD1
HIE_TCZ2 | 544 | 4 | TCZ215 | TCS315 | Ramp Zone 15 Section 2 (M190 - SPXP02 ) | Contains_Between | LOC_NODE | SPI EXIT_ROAD | Chainage | 1196.8065 | 1295
HIE_TCZ2 | 543 | 4 | TCZ215 | TCS215 | Ramp Zone 15 Section 1 (M180 - SPXP02 ) | Contains_Between | LOC_NODE | SPI ENTRY_ROAD | Chainage | 1188.4305 | 1285
HIE_TCZ2 | 542 | 4 | TCZ214 | TCS314 | Ramp Zone 14 Section 2 (M190 - SPXP04 ) | Contains_Between | LOC_NODE | SPI EXIT_ROAD | Chainage | 1295 | 1535.791
HIE_TCZ2 | 541 | 4 | TCZ214 | TCS214 | Ramp Zone 14 Section 1 (M180 - SPXP04 ) | Contains_Between | LOC_NODE | SPI ENTRY_ROAD | Chainage | 1285 | 1524.478
HIE_TCZ2 | 540 | 4 | TCZ213 | TCS313 | Ramp Zone 13 Section 2 (M190 - SPXP06 ) | Contains_Between | LOC_NODE | SPI EXIT_ROAD | Chainage | 1535.791 | 1775.791
HIE_TCZ2 | 539 | 4 | TCZ213 | TCS213 | Ramp Zone 13 Section 1 (M180 - SPXP06 ) | Contains_Between | LOC_NODE | SPI ENTRY_ROAD | Chainage | 1524.478 | 1763.195
HIE_TCZ2 | 538 | 4 | TCZ212 | TCS312 | Ramp Zone 12 Section 2 (M190 - SPXP08 ) | Contains_Between | LOC_NODE | SPI EXIT_ROAD | Chainage | 1775.791 | 2006.455
HIE_TCZ2 | 537 | 4 | TCZ212 | TCS212 | Ramp Zone 12 Section 1 (M180 - SPXP08 ) | Contains_Between | LOC_NODE | SPI ENTRY_ROAD | Chainage | 1763.195 | 1990.5785
HIE_TCZ2 | 536 | 4 | TCZ211 | RFXP02 | ROI Fire Rescue NSW Cross Passage 02 | Contains | LOC_NODE | RFXP02_XP
HIE_TCZ2 | 535 | 4 | TCZ211 | RFXP02 | ROI Fire Rescue NSW Cross Passage 02 | Contains | LOC_NODE | RFXP02_FXD2
HIE_TCZ2 | 534 | 4 | TCZ211 | RFXP02 | ROI Fire Rescue NSW Cross Passage 02 | Contains | LOC_NODE | RFXP02_FXD1
HIE_TCZ2 | 533 | 4 | TCZ211 | TCS311 | Ramp Zone 11 Section 2 (M190 - FXP21501 ) | Contains_Between | LOC_NODE | SPI EXIT_ROAD | Chainage | 2006.455 | 2200
HIE_TCZ2 | 532 | 4 | TCZ210 | TCS210 | Ramp Zone 10 Section 1 (M180 - FXP21401 ) | Contains_Between | LOC_NODE | SPI ENTRY_ROAD | Chainage | 1990.5785 | 2360
HIE_TCZ2 | 531 | 4 | TCZ209 | TCS209 | Ramp Zone 09 Section 1 (M1D0) | Contains_Between | LOC_NODE | SB ROI ENTRY_ROAD | Chainage | 2660 | 2800
HIE_TCZ2 | 530 | 4 | TCZ208 | RFXP01 | ROI Fire Rescue NSW Cross Passage 01 | Contains | LOC_NODE | RFXP01_XP
HIE_TCZ2 | 529 | 4 | TCZ208 | RFXP01 | ROI Fire Rescue NSW Cross Passage 01 | Contains | LOC_NODE | RFXP01_FXD2
HIE_TCZ2 | 528 | 4 | TCZ208 | RFXP01 | ROI Fire Rescue NSW Cross Passage 01 | Contains | LOC_NODE | RFXP01_FXD1
HIE_TCZ2 | 527 | 4 | TCZ208 | TCS208 | Ramp Zone 08 Section 1 (M1A0) | Contains_Between | LOC_NODE | NB ROI EXIT_ROAD | Chainage | 160 | 490
HIE_TCZ2 | 526 | 4 | TCZ207 | TCS207 | Ramp Zone 07 Section 1 (M1C0 ) | Contains_Between | LOC_NODE | SB ROI EXIT_ROAD | Chainage | 90 | 200
HIE_TCZ2 | 525 | 4 | TCZ206 | WFXP01 | WS Fire Rescue NSW Cross Passage 01 | Contains | LOC_NODE | WFXP01_XP
HIE_TCZ2 | 524 | 4 | TCZ206 | WFXP01 | WS Fire Rescue NSW Cross Passage 01 | Contains | LOC_NODE | WFXP01_FXD2
HIE_TCZ2 | 523 | 4 | TCZ206 | WFXP01 | WS Fire Rescue NSW Cross Passage 01 | Contains | LOC_NODE | WFXP01_FXD1
HIE_TCZ2 | 522 | 4 | TCZ206 | TCS206 | Ramp Zone 06 Section 1 (M1B0) | Contains_Between | LOC_NODE | NB ROI ENTRY_ROAD | Chainage | 2055 | 2300
HIE_TCZ2 | 521 | 4 | TCZ205 | WXP08 | Wattle Ramp Cross Passage 08 | Contains | LOC_NODE | WXP08_EXD2
HIE_TCZ2 | 520 | 4 | TCZ205 | WXP08 | Wattle Ramp Cross Passage 08 | Contains | LOC_NODE | WXP08_EXD1
HIE_TCZ2 | 519 | 4 | TCZ205 | WXP08 | Wattle Ramp Cross Passage 08 | Contains | LOC_NODE | WXP08_EP
HIE_TCZ2 | 518 | 4 | TCZ205 | WXP08 | Wattle Ramp Cross Passage 08 | Contains | LOC_NODE | WXP08_EER2
HIE_TCZ2 | 517 | 4 | TCZ205 | WXP08 | Wattle Ramp Cross Passage 08 | Contains | LOC_NODE | WXP08_EER1
HIE_TCZ2 | 516 | 4 | TCZ205 | WXP07 | Wattle Ramp Cross Passage 07 | Contains | LOC_NODE | WXP07_EXD2
HIE_TCZ2 | 515 | 4 | TCZ205 | WXP07 | Wattle Ramp Cross Passage 07 | Contains | LOC_NODE | WXP07_EXD1
HIE_TCZ2 | 514 | 4 | TCZ205 | WXP07 | Wattle Ramp Cross Passage 07 | Contains | LOC_NODE | WXP07_EP
HIE_TCZ2 | 513 | 4 | TCZ205 | TCS305 | Ramp Zone 05 Section 2 (M170 - WXP08 ) | Contains_Between | LOC_NODE | WS ENTRY_ROAD | Chainage | 1030 | 1200
HIE_TCZ2 | 512 | 4 | TCZ205 | TCS205 | Ramp Zone 05 Section 1 (M160 - WXP08 ) | Contains_Between | LOC_NODE | WS EXIT_ROAD | Chainage | 120 | 602.069
HIE_TCZ2 | 511 | 4 | TCZ204 | WXP06_EER | Wattle Ramp Cross Passage 06 | Contains | LOC_NODE | WXP06_EER
HIE_TCZ2 | 510 | 4 | TCZ204 | WXP06 | Wattle Ramp Cross Passage 06 | Contains | LOC_NODE | WXP06_EXD2
HIE_TCZ2 | 509 | 4 | TCZ204 | WXP06 | Wattle Ramp Cross Passage 06 | Contains | LOC_NODE | WXP06_EXD1
HIE_TCZ2 | 508 | 4 | TCZ204 | WXP06 | Wattle Ramp Cross Passage 06 | Contains | LOC_NODE | WXP06_EP
HIE_TCZ2 | 507 | 4 | TCZ204 | WXP05_EER | Wattle Ramp Cross Passage 05 | Contains | LOC_NODE | WXP05_EER
HIE_TCZ2 | 506 | 4 | TCZ204 | WXP05 | Wattle Ramp Cross Passage 05 | Contains | LOC_NODE | WXP05_EXD2
HIE_TCZ2 | 505 | 4 | TCZ204 | WXP05 | Wattle Ramp Cross Passage 05 | Contains | LOC_NODE | WXP05_EXD1
HIE_TCZ2 | 504 | 4 | TCZ204 | WXP05 | Wattle Ramp Cross Passage 05 | Contains | LOC_NODE | WXP05_EP
HIE_TCZ2 | 503 | 4 | TCZ204 | TCS304 | Ramp Zone 04 Section 2 (M170 - WXP06 & WXP05 ) | Contains_Between | LOC_NODE | WS ENTRY_ROAD | Chainage | 741.222 | 1030
HIE_TCZ2 | 502 | 4 | TCZ204 | TCS204 | Ramp Zone 04 Section 1 (M160 - WXP06 & WXP05 ) | Contains_Between | LOC_NODE | WS EXIT_ROAD | Chainage | 602.069 | 870.557
HIE_TCZ2 | 501 | 4 | TCZ203 | WXP04_EER | Wattle Ramp Cross Passage 04 | Contains | LOC_NODE | WXP04_EER
HIE_TCZ2 | 500 | 4 | TCZ203 | WXP04 | Wattle Ramp Cross Passage 04 | Contains | LOC_NODE | WXP04_EXD2
HIE_TCZ2 | 499 | 4 | TCZ203 | WXP04 | Wattle Ramp Cross Passage 04 | Contains | LOC_NODE | WXP04_EXD1
HIE_TCZ2 | 498 | 4 | TCZ203 | WXP04 | Wattle Ramp Cross Passage 04 | Contains | LOC_NODE | WXP04_EP
HIE_TCZ2 | 497 | 4 | TCZ203 | WXP03_EER | Wattle Ramp Cross Passage 03 | Contains | LOC_NODE | WXP03_EER
HIE_TCZ2 | 496 | 4 | TCZ203 | WXP03 | Wattle Ramp Cross Passage 03 | Contains | LOC_NODE | WXP03_EXD2
HIE_TCZ2 | 495 | 4 | TCZ203 | WXP03 | Wattle Ramp Cross Passage 03 | Contains | LOC_NODE | WXP03_EXD1
HIE_TCZ2 | 494 | 4 | TCZ203 | WXP03 | Wattle Ramp Cross Passage 03 | Contains | LOC_NODE | WXP03_EP
HIE_TCZ2 | 493 | 4 | TCZ203 | WXP02_EER | Wattle Ramp Cross Passage 02 | Contains | LOC_NODE | WXP02_EER
HIE_TCZ2 | 492 | 4 | TCZ203 | WXP02 | Wattle Ramp Cross Passage 02 | Contains | LOC_NODE | WXP02_EXD2
HIE_TCZ2 | 491 | 4 | TCZ203 | WXP02 | Wattle Ramp Cross Passage 02 | Contains | LOC_NODE | WXP02_EXD1
HIE_TCZ2 | 490 | 4 | TCZ203 | WXP02 | Wattle Ramp Cross Passage 02 | Contains | LOC_NODE | WXP02_EP
HIE_TCZ2 | 489 | 4 | TCZ203 | TCS303 | Ramp Zone 03 Section 2 (M170 - WXP04 & WXP02 ) | Contains_Between | LOC_NODE | WS ENTRY_ROAD | Chainage | 482.25 | 741.222
HIE_TCZ2 | 488 | 4 | TCZ203 | TCS203 | Ramp Zone 03 Section 1 (M160 - WXP04 & WXP02 ) | Contains_Between | LOC_NODE | WS EXIT_ROAD | Chainage | 870.557 | 1061
HIE_TCZ2 | 487 | 4 | TCZ202 | WXP01_EER | Wattle Ramp Cross Passage 01 | Contains | LOC_NODE | WXP01_EER
HIE_TCZ2 | 486 | 4 | TCZ202 | WXP01 | Wattle Ramp Cross Passage 01 | Contains | LOC_NODE | WXP01_EXD2
HIE_TCZ2 | 485 | 4 | TCZ202 | WXP01 | Wattle Ramp Cross Passage 01 | Contains | LOC_NODE | WXP01_EXD1
HIE_TCZ2 | 484 | 4 | TCZ202 | WXP01 | Wattle Ramp Cross Passage 01 | Contains | LOC_NODE | WXP01_EP
HIE_TCZ2 | 483 | 4 | TCZ202 | TCS302 | Ramp Zone 02 Section 2 (M170 - WXP01 ) | Contains_Between | LOC_NODE | WS ENTRY_ROAD | Chainage | 411.71 | 482.25
HIE_TCZ2 | 482 | 4 | TCZ202 | TCS202 | Ramp Zone 02 Section 1 (M160 - WXP01 ) | Contains_Between | LOC_NODE | WS EXIT_ROAD | Chainage | 1061 | 1300
HIE_TCZ2 | 481 | 4 | TCZ201 | TCS301 | Ramp Zone 01 Section 2 (M170 - Dive Works) | Contains_Between | LOC_NODE | WS ENTRY_ROAD | Chainage | 0 | 411.71
HIE_TCZ2 | 480 | 4 | TCZ201 | TCS201 | Ramp Zone 01 Section 1 (M160 - Dive Works) | Contains_Between | LOC_NODE | WS EXIT_ROAD | Chainage | 1300 | 1597
HIE_TCZ2 | 479 | 4 | TCZ032 | XP64 | Mainline Cross Passage 64 | Contains | LOC_NODE | XP64_EXD2
HIE_TCZ2 | 478 | 4 | TCZ032 | XP64 | Mainline Cross Passage 64 | Contains | LOC_NODE | XP64_EXD1
HIE_TCZ2 | 477 | 4 | TCZ032 | XP64 | Mainline Cross Passage 64 | Contains | LOC_NODE | XP64_EP
HIE_TCZ2 | 476 | 4 | TCZ032 | XP63_EER | Mainline Cross Passage 63 | Contains | LOC_NODE | XP63_EER
HIE_TCZ2 | 475 | 4 | TCZ032 | XP63 | Mainline Cross Passage 63 | Contains | LOC_NODE | XP63_EXD2
HIE_TCZ2 | 474 | 4 | TCZ032 | XP63 | Mainline Cross Passage 63 | Contains | LOC_NODE | XP63_EXD1
HIE_TCZ2 | 473 | 4 | TCZ032 | XP63 | Mainline Cross Passage 63 | Contains | LOC_NODE | XP63_EP
HIE_TCZ2 | 472 | 4 | TCZ032 | TCS132 | Tunnel Zone 32 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 750 | 765.226
HIE_TCZ2 | 471 | 4 | TCZ032 | TCS132 | Tunnel Zone 32 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 765.226 | 885.297
HIE_TCZ2 | 470 | 4 | TCZ032 | TCS032 | Tunnel Zone 32 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 780 | 795.881
HIE_TCZ2 | 469 | 4 | TCZ032 | TCS032 | Tunnel Zone 32 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 795.881 | 914.881
HIE_TCZ2 | 468 | 4 | TCZ031 | XP62 | Mainline Cross Passage 62 | Contains | LOC_NODE | XP62_EXD2
HIE_TCZ2 | 467 | 4 | TCZ031 | XP62 | Mainline Cross Passage 62 | Contains | LOC_NODE | XP62_EXD1
HIE_TCZ2 | 466 | 4 | TCZ031 | XP62 | Mainline Cross Passage 62 | Contains | LOC_NODE | XP62_EP
HIE_TCZ2 | 465 | 4 | TCZ031 | XP61_EER | Mainline Cross Passage 61 | Contains | LOC_NODE | XP61_EER
HIE_TCZ2 | 464 | 4 | TCZ031 | XP61 | Mainline Cross Passage 61 | Contains | LOC_NODE | XP61_EXD2
HIE_TCZ2 | 463 | 4 | TCZ031 | XP61 | Mainline Cross Passage 61 | Contains | LOC_NODE | XP61_EXD1
HIE_TCZ2 | 462 | 4 | TCZ031 | XP61 | Mainline Cross Passage 61 | Contains | LOC_NODE | XP61_EP
HIE_TCZ2 | 461 | 4 | TCZ031 | VXP03 | Vehicle Cross Passage 03 | Contains | LOC_NODE | VXP03_XP
HIE_TCZ2 | 460 | 4 | TCZ031 | VXP03 | Vehicle Cross Passage 03 | Contains | LOC_NODE | VXP03_VXD2
HIE_TCZ2 | 459 | 4 | TCZ031 | VXP03 | Vehicle Cross Passage 03 | Contains | LOC_NODE | VXP03_VXD1
HIE_TCZ2 | 458 | 4 | TCZ031 | TCS131 | Tunnel Zone 31 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 885.297 | 1005.372
HIE_TCZ2 | 457 | 4 | TCZ031 | TCS131 | Tunnel Zone 31 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 1005.372 | 1125.438
HIE_TCZ2 | 456 | 4 | TCZ031 | TCS031 | Tunnel Zone 31 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 914.881 | 1033.874
HIE_TCZ2 | 455 | 4 | TCZ031 | TCS031 | Tunnel Zone 31 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 1033.874 | 1152.871
HIE_TCZ2 | 454 | 4 | TCZ030 | XP60 | Mainline Cross Passage 60 | Contains | LOC_NODE | XP60_EXD2
HIE_TCZ2 | 453 | 4 | TCZ030 | XP60 | Mainline Cross Passage 60 | Contains | LOC_NODE | XP60_EXD1
HIE_TCZ2 | 452 | 4 | TCZ030 | XP60 | Mainline Cross Passage 60 | Contains | LOC_NODE | XP60_EP
HIE_TCZ2 | 451 | 4 | TCZ030 | XP59_EER | Mainline Cross Passage 59 | Contains | LOC_NODE | XP59_EER
HIE_TCZ2 | 450 | 4 | TCZ030 | XP59 | Mainline Cross Passage 59 | Contains | LOC_NODE | XP59_EXD2
HIE_TCZ2 | 449 | 4 | TCZ030 | XP59 | Mainline Cross Passage 59 | Contains | LOC_NODE | XP59_EXD1
HIE_TCZ2 | 448 | 4 | TCZ030 | XP59 | Mainline Cross Passage 59 | Contains | LOC_NODE | XP59_EP
HIE_TCZ2 | 447 | 4 | TCZ030 | TCS130 | Tunnel Zone 30 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 1125.438 | 1245.51
HIE_TCZ2 | 446 | 4 | TCZ030 | TCS130 | Tunnel Zone 30 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 1245.51 | 1365.567
HIE_TCZ2 | 445 | 4 | TCZ030 | TCS030 | Tunnel Zone 30 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 1152.871 | 1271.82
HIE_TCZ2 | 444 | 4 | TCZ030 | TCS030 | Tunnel Zone 30 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 1271.82 | 1390.778
HIE_TCZ2 | 443 | 4 | TCZ029 | XP58 | Mainline Cross Passage 58 | Contains | LOC_NODE | XP58_EXD2
HIE_TCZ2 | 442 | 4 | TCZ029 | XP58 | Mainline Cross Passage 58 | Contains | LOC_NODE | XP58_EXD1
HIE_TCZ2 | 441 | 4 | TCZ029 | XP58 | Mainline Cross Passage 58 | Contains | LOC_NODE | XP58_EP
HIE_TCZ2 | 440 | 4 | TCZ029 | XP57_EER | Mainline Cross Passage 57 | Contains | LOC_NODE | XP57_EER
HIE_TCZ2 | 439 | 4 | TCZ029 | XP57 | Mainline Cross Passage 57 | Contains | LOC_NODE | XP57_EXD2
HIE_TCZ2 | 438 | 4 | TCZ029 | XP57 | Mainline Cross Passage 57 | Contains | LOC_NODE | XP57_EXD1
HIE_TCZ2 | 437 | 4 | TCZ029 | XP57 | Mainline Cross Passage 57 | Contains | LOC_NODE | XP57_EP
HIE_TCZ2 | 436 | 4 | TCZ029 | TCS129 | Tunnel Zone 29 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 1365.567 | 1485.638
HIE_TCZ2 | 435 | 4 | TCZ029 | TCS129 | Tunnel Zone 29 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 1485.638 | 1605.709
HIE_TCZ2 | 434 | 4 | TCZ029 | TCS029 | Tunnel Zone 29 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 1390.778 | 1509.735
HIE_TCZ2 | 433 | 4 | TCZ029 | TCS029 | Tunnel Zone 29 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 1509.735 | 1628.687
HIE_TCZ2 | 432 | 4 | TCZ028 | XP56 | Mainline Cross Passage 56 | Contains | LOC_NODE | XP56_EXD2
HIE_TCZ2 | 431 | 4 | TCZ028 | XP56 | Mainline Cross Passage 56 | Contains | LOC_NODE | XP56_EXD1
HIE_TCZ2 | 430 | 4 | TCZ028 | XP56 | Mainline Cross Passage 56 | Contains | LOC_NODE | XP56_EP
HIE_TCZ2 | 429 | 4 | TCZ028 | XP55_EER | Mainline Cross Passage 55 | Contains | LOC_NODE | XP55_EER
HIE_TCZ2 | 428 | 4 | TCZ028 | XP55 | Mainline Cross Passage 55 | Contains | LOC_NODE | XP55_EXD2
HIE_TCZ2 | 427 | 4 | TCZ028 | XP55 | Mainline Cross Passage 55 | Contains | LOC_NODE | XP55_EXD1
HIE_TCZ2 | 426 | 4 | TCZ028 | XP55 | Mainline Cross Passage 55 | Contains | LOC_NODE | XP55_EP
HIE_TCZ2 | 425 | 4 | TCZ028 | TCS128 | Tunnel Zone 28 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 1605.709 | 1725.78
HIE_TCZ2 | 424 | 4 | TCZ028 | TCS128 | Tunnel Zone 28 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 1725.78 | 1845.853
HIE_TCZ2 | 423 | 4 | TCZ028 | TCS028 | Tunnel Zone 28 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 1628.687 | 1747.635
HIE_TCZ2 | 422 | 4 | TCZ028 | TCS028 | Tunnel Zone 28 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 1747.635 | 1866.539
HIE_TCZ2 | 421 | 4 | TCZ027 | XP54 | Mainline Cross Passage 54 | Contains | LOC_NODE | XP54_EXD2
HIE_TCZ2 | 420 | 4 | TCZ027 | XP54 | Mainline Cross Passage 54 | Contains | LOC_NODE | XP54_EXD1
HIE_TCZ2 | 419 | 4 | TCZ027 | XP54 | Mainline Cross Passage 54 | Contains | LOC_NODE | XP54_EP
HIE_TCZ2 | 418 | 4 | TCZ027 | XP53_EER | Mainline Cross Passage 53 | Contains | LOC_NODE | XP53_EER
HIE_TCZ2 | 417 | 4 | TCZ027 | XP53 | Mainline Cross Passage 53 | Contains | LOC_NODE | XP53_EXD2
HIE_TCZ2 | 416 | 4 | TCZ027 | XP53 | Mainline Cross Passage 53 | Contains | LOC_NODE | XP53_EXD1
HIE_TCZ2 | 415 | 4 | TCZ027 | XP53 | Mainline Cross Passage 53 | Contains | LOC_NODE | XP53_EP
HIE_TCZ2 | 414 | 4 | TCZ027 | TCS127 | Tunnel Zone 27 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 1845.853 | 1921.483
HIE_TCZ2 | 413 | 4 | TCZ027 | TCS127 | Tunnel Zone 27 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 1921.483 | 1993.112
HIE_TCZ2 | 412 | 4 | TCZ027 | TCS027 | Tunnel Zone 27 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 1866.539 | 1941.497
HIE_TCZ2 | 411 | 4 | TCZ027 | TCS027 | Tunnel Zone 27 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 1941.497 | 2012.455
HIE_TCZ2 | 410 | 4 | TCZ026 | XP52 | Mainline Cross Passage 52 | Contains | LOC_NODE | XP52_EXD2
HIE_TCZ2 | 409 | 4 | TCZ026 | XP52 | Mainline Cross Passage 52 | Contains | LOC_NODE | XP52_EXD1
HIE_TCZ2 | 408 | 4 | TCZ026 | XP52 | Mainline Cross Passage 52 | Contains | LOC_NODE | XP52_EP
HIE_TCZ2 | 407 | 4 | TCZ026 | XP51_EER | Mainline Cross Passage 51 | Contains | LOC_NODE | XP51_EER
HIE_TCZ2 | 406 | 4 | TCZ026 | XP51 | Mainline Cross Passage 51 | Contains | LOC_NODE | XP51_EXD2
HIE_TCZ2 | 405 | 4 | TCZ026 | XP51 | Mainline Cross Passage 51 | Contains | LOC_NODE | XP51_EXD1
HIE_TCZ2 | 404 | 4 | TCZ026 | XP51 | Mainline Cross Passage 51 | Contains | LOC_NODE | XP51_EP
HIE_TCZ2 | 403 | 4 | TCZ026 | TCS126 | Tunnel Zone 26 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 1993.112 | 2089.995
HIE_TCZ2 | 402 | 4 | TCZ026 | TCS126 | Tunnel Zone 26 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 2089.995 | 2210.066
HIE_TCZ2 | 401 | 4 | TCZ026 | TCS026 | Tunnel Zone 26 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 2012.455 | 2108.43
HIE_TCZ2 | 400 | 4 | TCZ026 | TCS026 | Tunnel Zone 26 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 2108.43 | 2227.377
HIE_TCZ2 | 399 | 4 | TCZ025 | XP50 | Mainline Cross Passage 50 | Contains | LOC_NODE | XP50_EXD2
HIE_TCZ2 | 398 | 4 | TCZ025 | XP50 | Mainline Cross Passage 50 | Contains | LOC_NODE | XP50_EXD1
HIE_TCZ2 | 397 | 4 | TCZ025 | XP50 | Mainline Cross Passage 50 | Contains | LOC_NODE | XP50_EP
HIE_TCZ2 | 396 | 4 | TCZ025 | XP49_EER | Mainline Cross Passage 49 | Contains | LOC_NODE | XP49_EER
HIE_TCZ2 | 395 | 4 | TCZ025 | XP49 | Mainline Cross Passage 49 | Contains | LOC_NODE | XP49_EXD2
HIE_TCZ2 | 394 | 4 | TCZ025 | XP49 | Mainline Cross Passage 49 | Contains | LOC_NODE | XP49_EXD1
HIE_TCZ2 | 393 | 4 | TCZ025 | XP49 | Mainline Cross Passage 49 | Contains | LOC_NODE | XP49_EP
HIE_TCZ2 | 392 | 4 | TCZ025 | TCS125 | Tunnel Zone 25 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 2210.066 | 2330.137
HIE_TCZ2 | 391 | 4 | TCZ025 | TCS125 | Tunnel Zone 25 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 2330.137 | 2450.208
HIE_TCZ2 | 390 | 4 | TCZ025 | TCS025 | Tunnel Zone 25 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 2227.377 | 2346.326
HIE_TCZ2 | 389 | 4 | TCZ025 | TCS025 | Tunnel Zone 25 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 2346.326 | 2465.28
HIE_TCZ2 | 388 | 4 | TCZ024 | XP48 | Mainline Cross Passage 48 | Contains | LOC_NODE | XP48_EXD2
HIE_TCZ2 | 387 | 4 | TCZ024 | XP48 | Mainline Cross Passage 48 | Contains | LOC_NODE | XP48_EXD1
HIE_TCZ2 | 386 | 4 | TCZ024 | XP48 | Mainline Cross Passage 48 | Contains | LOC_NODE | XP48_EP
HIE_TCZ2 | 385 | 4 | TCZ024 | XP47_EER | Mainline Cross Passage 47 | Contains | LOC_NODE | XP47_EER
HIE_TCZ2 | 384 | 4 | TCZ024 | XP47 | Mainline Cross Passage 47 | Contains | LOC_NODE | XP47_EXD2
HIE_TCZ2 | 383 | 4 | TCZ024 | XP47 | Mainline Cross Passage 47 | Contains | LOC_NODE | XP47_EXD1
HIE_TCZ2 | 382 | 4 | TCZ024 | XP47 | Mainline Cross Passage 47 | Contains | LOC_NODE | XP47_EP
HIE_TCZ2 | 381 | 4 | TCZ024 | TCS124 | Tunnel Zone 24 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 2450.208 | 2570.279
HIE_TCZ2 | 380 | 4 | TCZ024 | TCS124 | Tunnel Zone 24 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 2570.279 | 2690.301
HIE_TCZ2 | 379 | 4 | TCZ024 | TCS024 | Tunnel Zone 24 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 2465.28 | 2584.24
HIE_TCZ2 | 378 | 4 | TCZ024 | TCS024 | Tunnel Zone 24 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 2584.24 | 2703.918
HIE_TCZ2 | 377 | 4 | TCZ023 | XP46 | Mainline Cross Passage 46 | Contains | LOC_NODE | XP46_EXD2
HIE_TCZ2 | 376 | 4 | TCZ023 | XP46 | Mainline Cross Passage 46 | Contains | LOC_NODE | XP46_EXD1
HIE_TCZ2 | 375 | 4 | TCZ023 | XP46 | Mainline Cross Passage 46 | Contains | LOC_NODE | XP46_EP
HIE_TCZ2 | 374 | 4 | TCZ023 | XP45_EER | Mainline Cross Passage 45 | Contains | LOC_NODE | XP45_EER
HIE_TCZ2 | 373 | 4 | TCZ023 | XP45 | Mainline Cross Passage 45 | Contains | LOC_NODE | XP45_EXD2
HIE_TCZ2 | 372 | 4 | TCZ023 | XP45 | Mainline Cross Passage 45 | Contains | LOC_NODE | XP45_EXD1
HIE_TCZ2 | 371 | 4 | TCZ023 | XP45 | Mainline Cross Passage 45 | Contains | LOC_NODE | XP45_EP
HIE_TCZ2 | 370 | 4 | TCZ023 | TCS123 | Tunnel Zone 23 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 2690.301 | 2810.301
HIE_TCZ2 | 369 | 4 | TCZ023 | TCS123 | Tunnel Zone 23 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 2810.301 | 2930.301
HIE_TCZ2 | 368 | 4 | TCZ023 | TCS023 | Tunnel Zone 23 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 2703.918 | 2823.918
HIE_TCZ2 | 367 | 4 | TCZ023 | TCS023 | Tunnel Zone 23 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 2823.918 | 2943.918
HIE_TCZ2 | 366 | 4 | TCZ022 | XP44 | Mainline Cross Passage 44 | Contains | LOC_NODE | XP44_EXD2
HIE_TCZ2 | 365 | 4 | TCZ022 | XP44 | Mainline Cross Passage 44 | Contains | LOC_NODE | XP44_EXD1
HIE_TCZ2 | 364 | 4 | TCZ022 | XP44 | Mainline Cross Passage 44 | Contains | LOC_NODE | XP44_EP
HIE_TCZ2 | 363 | 4 | TCZ022 | XP43_EER | Mainline Cross Passage 43 | Contains | LOC_NODE | XP43_EER
HIE_TCZ2 | 362 | 4 | TCZ022 | XP43 | Mainline Cross Passage 43 | Contains | LOC_NODE | XP43_EXD2
HIE_TCZ2 | 361 | 4 | TCZ022 | XP43 | Mainline Cross Passage 43 | Contains | LOC_NODE | XP43_EXD1
HIE_TCZ2 | 360 | 4 | TCZ022 | XP43 | Mainline Cross Passage 43 | Contains | LOC_NODE | XP43_EP
HIE_TCZ2 | 359 | 4 | TCZ022 | TCS122 | Tunnel Zone 22 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 2930.301 | 3050.301
HIE_TCZ2 | 358 | 4 | TCZ022 | TCS122 | Tunnel Zone 22 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 3050.301 | 3170.301
HIE_TCZ2 | 357 | 4 | TCZ022 | TCS022 | Tunnel Zone 22 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 2943.918 | 3063.918
HIE_TCZ2 | 356 | 4 | TCZ022 | TCS022 | Tunnel Zone 22 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 3063.918 | 3183.918
HIE_TCZ2 | 355 | 4 | TCZ021 | XP42 | Mainline Cross Passage 42 | Contains | LOC_NODE | XP42_EXD2
HIE_TCZ2 | 354 | 4 | TCZ021 | XP42 | Mainline Cross Passage 42 | Contains | LOC_NODE | XP42_EXD1
HIE_TCZ2 | 353 | 4 | TCZ021 | XP42 | Mainline Cross Passage 42 | Contains | LOC_NODE | XP42_EP
HIE_TCZ2 | 352 | 4 | TCZ021 | XP41_EER | Mainline Cross Passage 41 | Contains | LOC_NODE | XP41_EER
HIE_TCZ2 | 351 | 4 | TCZ021 | XP41 | Mainline Cross Passage 41 | Contains | LOC_NODE | XP41_EXD2
HIE_TCZ2 | 350 | 4 | TCZ021 | XP41 | Mainline Cross Passage 41 | Contains | LOC_NODE | XP41_EXD1
HIE_TCZ2 | 349 | 4 | TCZ021 | XP41 | Mainline Cross Passage 41 | Contains | LOC_NODE | XP41_EP
HIE_TCZ2 | 348 | 4 | TCZ021 | TCS121 | Tunnel Zone 21 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 3170.301 | 3290.301
HIE_TCZ2 | 347 | 4 | TCZ021 | TCS121 | Tunnel Zone 21 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 3290.301 | 3410.301
HIE_TCZ2 | 346 | 4 | TCZ021 | TCS021 | Tunnel Zone 21 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 3183.918 | 3303.918
HIE_TCZ2 | 345 | 4 | TCZ021 | TCS021 | Tunnel Zone 21 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 3303.918 | 3423.918
HIE_TCZ2 | 344 | 4 | TCZ020 | XP40 | Mainline Cross Passage 40 | Contains | LOC_NODE | XP40_EXD2
HIE_TCZ2 | 343 | 4 | TCZ020 | XP40 | Mainline Cross Passage 40 | Contains | LOC_NODE | XP40_EXD1
HIE_TCZ2 | 342 | 4 | TCZ020 | XP40 | Mainline Cross Passage 40 | Contains | LOC_NODE | XP40_EP
HIE_TCZ2 | 341 | 4 | TCZ020 | XP39_EER | Mainline Cross Passage 39 | Contains | LOC_NODE | XP39_EER
HIE_TCZ2 | 340 | 4 | TCZ020 | XP39 | Mainline Cross Passage 39 | Contains | LOC_NODE | XP39_EXD2
HIE_TCZ2 | 339 | 4 | TCZ020 | XP39 | Mainline Cross Passage 39 | Contains | LOC_NODE | XP39_EXD1
HIE_TCZ2 | 338 | 4 | TCZ020 | XP39 | Mainline Cross Passage 39 | Contains | LOC_NODE | XP39_EP
HIE_TCZ2 | 337 | 4 | TCZ020 | VXP02 | Vehicle Cross Passage 02 | Contains | LOC_NODE | VXP02_XP
HIE_TCZ2 | 336 | 4 | TCZ020 | VXP02 | Vehicle Cross Passage 02 | Contains | LOC_NODE | VXP02_VXD2
HIE_TCZ2 | 335 | 4 | TCZ020 | VXP02 | Vehicle Cross Passage 02 | Contains | LOC_NODE | VXP02_VXD1
HIE_TCZ2 | 334 | 4 | TCZ020 | TCS120 | Tunnel Zone 20 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 3410.301 | 3530.317
HIE_TCZ2 | 333 | 4 | TCZ020 | TCS120 | Tunnel Zone 20 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 3530.317 | 3650.386
HIE_TCZ2 | 332 | 4 | TCZ020 | TCS020 | Tunnel Zone 20 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 3423.918 | 3543.687
HIE_TCZ2 | 331 | 4 | TCZ020 | TCS020 | Tunnel Zone 20 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 3543.687 | 3662.677
HIE_TCZ2 | 330 | 4 | TCZ019 | XP38 | Mainline Cross Passage 38 | Contains | LOC_NODE | XP38_EXD2
HIE_TCZ2 | 329 | 4 | TCZ019 | XP38 | Mainline Cross Passage 38 | Contains | LOC_NODE | XP38_EXD1
HIE_TCZ2 | 328 | 4 | TCZ019 | XP38 | Mainline Cross Passage 38 | Contains | LOC_NODE | XP38_EP
HIE_TCZ2 | 327 | 4 | TCZ019 | XP37_EER | Mainline Cross Passage 37 | Contains | LOC_NODE | XP37_EER
HIE_TCZ2 | 326 | 4 | TCZ019 | XP37 | Mainline Cross Passage 37 | Contains | LOC_NODE | XP37_EXD2
HIE_TCZ2 | 325 | 4 | TCZ019 | XP37 | Mainline Cross Passage 37 | Contains | LOC_NODE | XP37_EXD1
HIE_TCZ2 | 324 | 4 | TCZ019 | XP37 | Mainline Cross Passage 37 | Contains | LOC_NODE | XP37_EP
HIE_TCZ2 | 323 | 4 | TCZ019 | TCS119 | Tunnel Zone 19 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 3650.386 | 3770.445
HIE_TCZ2 | 322 | 4 | TCZ019 | TCS119 | Tunnel Zone 19 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 3770.445 | 3890.5832
HIE_TCZ2 | 321 | 4 | TCZ019 | TCS019 | Tunnel Zone 19 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 3662.677 | 3781.657
HIE_TCZ2 | 320 | 4 | TCZ019 | TCS019 | Tunnel Zone 19 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 3781.657 | 3900.7223
HIE_TCZ2 | 319 | 4 | TCZ018 | XP36 | Mainline Cross Passage 36 | Contains | LOC_NODE | XP36_EXD2
HIE_TCZ2 | 318 | 4 | TCZ018 | XP36 | Mainline Cross Passage 36 | Contains | LOC_NODE | XP36_EXD1
HIE_TCZ2 | 317 | 4 | TCZ018 | XP36 | Mainline Cross Passage 36 | Contains | LOC_NODE | XP36_EP
HIE_TCZ2 | 316 | 4 | TCZ018 | XP35_EER | Mainline Cross Passage 35 | Contains | LOC_NODE | XP35_EER
HIE_TCZ2 | 315 | 4 | TCZ018 | XP35 | Mainline Cross Passage 35 | Contains | LOC_NODE | XP35_EXD2
HIE_TCZ2 | 314 | 4 | TCZ018 | XP35 | Mainline Cross Passage 35 | Contains | LOC_NODE | XP35_EXD1
HIE_TCZ2 | 313 | 4 | TCZ018 | XP35 | Mainline Cross Passage 35 | Contains | LOC_NODE | XP35_EP
HIE_TCZ2 | 312 | 4 | TCZ018 | TCS118 | Tunnel Zone 18 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 3890.5832 | 3976.123
HIE_TCZ2 | 311 | 4 | TCZ018 | TCS118 | Tunnel Zone 18 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 3976.123 | 4096.192
HIE_TCZ2 | 310 | 4 | TCZ018 | TCS018 | Tunnel Zone 18 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 3900.7223 | 3985.486
HIE_TCZ2 | 309 | 4 | TCZ018 | TCS018 | Tunnel Zone 18 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 3985.486 | 4104.476
HIE_TCZ2 | 308 | 4 | TCZ017 | XP34 | Mainline Cross Passage 34 | Contains | LOC_NODE | XP34_EXD2
HIE_TCZ2 | 307 | 4 | TCZ017 | XP34 | Mainline Cross Passage 34 | Contains | LOC_NODE | XP34_EXD1
HIE_TCZ2 | 306 | 4 | TCZ017 | XP34 | Mainline Cross Passage 34 | Contains | LOC_NODE | XP34_EP
HIE_TCZ2 | 305 | 4 | TCZ017 | XP33_EER | Mainline Cross Passage 33 | Contains | LOC_NODE | XP33_EER
HIE_TCZ2 | 304 | 4 | TCZ017 | XP33 | Mainline Cross Passage 33 | Contains | LOC_NODE | XP33_EXD2
HIE_TCZ2 | 303 | 4 | TCZ017 | XP33 | Mainline Cross Passage 33 | Contains | LOC_NODE | XP33_EXD1
HIE_TCZ2 | 302 | 4 | TCZ017 | XP33 | Mainline Cross Passage 33 | Contains | LOC_NODE | XP33_EP
HIE_TCZ2 | 301 | 4 | TCZ017 | TCS117 | Tunnel Zone 17 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 4096.192 | 4216.262
HIE_TCZ2 | 300 | 4 | TCZ017 | TCS117 | Tunnel Zone 17 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 4216.262 | 4336.331
HIE_TCZ2 | 299 | 4 | TCZ017 | TCS017 | Tunnel Zone 17 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 4104.476 | 4223.466
HIE_TCZ2 | 298 | 4 | TCZ017 | TCS017 | Tunnel Zone 17 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 4223.466 | 4342.456
HIE_TCZ2 | 297 | 4 | TCZ016 | XP32 | Mainline Cross Passage 32 | Contains | LOC_NODE | XP32_EXD2
HIE_TCZ2 | 296 | 4 | TCZ016 | XP32 | Mainline Cross Passage 32 | Contains | LOC_NODE | XP32_EXD1
HIE_TCZ2 | 295 | 4 | TCZ016 | XP32 | Mainline Cross Passage 32 | Contains | LOC_NODE | XP32_EP
HIE_TCZ2 | 294 | 4 | TCZ016 | XP31_EER | Mainline Cross Passage 31 | Contains | LOC_NODE | XP31_EER
HIE_TCZ2 | 293 | 4 | TCZ016 | XP31 | Mainline Cross Passage 31 | Contains | LOC_NODE | XP31_EXD2
HIE_TCZ2 | 292 | 4 | TCZ016 | XP31 | Mainline Cross Passage 31 | Contains | LOC_NODE | XP31_EXD1
HIE_TCZ2 | 291 | 4 | TCZ016 | XP31 | Mainline Cross Passage 31 | Contains | LOC_NODE | XP31_EP
HIE_TCZ2 | 290 | 4 | TCZ016 | TCS116 | Tunnel Zone 16 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 4336.331 | 4456.4
HIE_TCZ2 | 289 | 4 | TCZ016 | TCS116 | Tunnel Zone 16 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 4456.4 | 4576.462
HIE_TCZ2 | 288 | 4 | TCZ016 | TCS016 | Tunnel Zone 16 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 4342.456 | 4461.446
HIE_TCZ2 | 287 | 4 | TCZ016 | TCS016 | Tunnel Zone 16 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 4461.446 | 4580.535
HIE_TCZ2 | 286 | 4 | TCZ015 | XP30 | Mainline Cross Passage 30 | Contains | LOC_NODE | XP30_EXD2
HIE_TCZ2 | 285 | 4 | TCZ015 | XP30 | Mainline Cross Passage 30 | Contains | LOC_NODE | XP30_EXD1
HIE_TCZ2 | 284 | 4 | TCZ015 | XP30 | Mainline Cross Passage 30 | Contains | LOC_NODE | XP30_EP
HIE_TCZ2 | 283 | 4 | TCZ015 | XP29_EER | Mainline Cross Passage 29 | Contains | LOC_NODE | XP29_EER
HIE_TCZ2 | 282 | 4 | TCZ015 | XP29 | Mainline Cross Passage 29 | Contains | LOC_NODE | XP29_EXD2
HIE_TCZ2 | 281 | 4 | TCZ015 | XP29 | Mainline Cross Passage 29 | Contains | LOC_NODE | XP29_EXD1
HIE_TCZ2 | 280 | 4 | TCZ015 | XP29 | Mainline Cross Passage 29 | Contains | LOC_NODE | XP29_EP
HIE_TCZ2 | 279 | 4 | TCZ015 | TCS115 | Tunnel Zone 15 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 4576.462 | 4696.461
HIE_TCZ2 | 278 | 4 | TCZ015 | TCS115 | Tunnel Zone 15 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 4696.461 | 4816.451
HIE_TCZ2 | 277 | 4 | TCZ015 | TCS015 | Tunnel Zone 15 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 4580.535 | 4700.534
HIE_TCZ2 | 276 | 4 | TCZ015 | TCS015 | Tunnel Zone 15 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 4700.534 | 4820.523
HIE_TCZ2 | 275 | 4 | TCZ014 | XP28 | Mainline Cross Passage 28 | Contains | LOC_NODE | XP28_EXD2
HIE_TCZ2 | 274 | 4 | TCZ014 | XP28 | Mainline Cross Passage 28 | Contains | LOC_NODE | XP28_EXD1
HIE_TCZ2 | 273 | 4 | TCZ014 | XP28 | Mainline Cross Passage 28 | Contains | LOC_NODE | XP28_EP
HIE_TCZ2 | 272 | 4 | TCZ014 | XP27_EER | Mainline Cross Passage 27 | Contains | LOC_NODE | XP27_EER
HIE_TCZ2 | 271 | 4 | TCZ014 | XP27 | Mainline Cross Passage 27 | Contains | LOC_NODE | XP27_EXD2
HIE_TCZ2 | 270 | 4 | TCZ014 | XP27 | Mainline Cross Passage 27 | Contains | LOC_NODE | XP27_EXD1
HIE_TCZ2 | 269 | 4 | TCZ014 | XP27 | Mainline Cross Passage 27 | Contains | LOC_NODE | XP27_EP
HIE_TCZ2 | 268 | 4 | TCZ014 | TCS114 | Tunnel Zone 14 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 4816.451 | 4936.436
HIE_TCZ2 | 267 | 4 | TCZ014 | TCS114 | Tunnel Zone 14 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 4936.436 | 5056.233
HIE_TCZ2 | 266 | 4 | TCZ014 | TCS014 | Tunnel Zone 14 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 4820.523 | 4940.509
HIE_TCZ2 | 265 | 4 | TCZ014 | TCS014 | Tunnel Zone 14 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 4940.509 | 5060.306
HIE_TCZ2 | 264 | 4 | TCZ013 | XP26 | Mainline Cross Passage 26 | Contains | LOC_NODE | XP26_EXD2
HIE_TCZ2 | 263 | 4 | TCZ013 | XP26 | Mainline Cross Passage 26 | Contains | LOC_NODE | XP26_EXD1
HIE_TCZ2 | 262 | 4 | TCZ013 | XP26 | Mainline Cross Passage 26 | Contains | LOC_NODE | XP26_EP
HIE_TCZ2 | 261 | 4 | TCZ013 | XP25_EER | Mainline Cross Passage 25 | Contains | LOC_NODE | XP25_EER
HIE_TCZ2 | 260 | 4 | TCZ013 | XP25 | Mainline Cross Passage 25 | Contains | LOC_NODE | XP25_EXD2
HIE_TCZ2 | 259 | 4 | TCZ013 | XP25 | Mainline Cross Passage 25 | Contains | LOC_NODE | XP25_EXD1
HIE_TCZ2 | 258 | 4 | TCZ013 | XP25 | Mainline Cross Passage 25 | Contains | LOC_NODE | XP25_EP
HIE_TCZ2 | 257 | 4 | TCZ013 | TCS113 | Tunnel Zone 13 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 5056.233 | 5176.233
HIE_TCZ2 | 256 | 4 | TCZ013 | TCS113 | Tunnel Zone 13 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 5176.233 | 5296.233
HIE_TCZ2 | 255 | 4 | TCZ013 | TCS013 | Tunnel Zone 13 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 5060.306 | 5180.306
HIE_TCZ2 | 254 | 4 | TCZ013 | TCS013 | Tunnel Zone 13 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 5180.306 | 5300.306
HIE_TCZ2 | 253 | 4 | TCZ012 | XP24 | Mainline Cross Passage 24 | Contains | LOC_NODE | XP24_EXD2
HIE_TCZ2 | 252 | 4 | TCZ012 | XP24 | Mainline Cross Passage 24 | Contains | LOC_NODE | XP24_EXD1
HIE_TCZ2 | 251 | 4 | TCZ012 | XP24 | Mainline Cross Passage 24 | Contains | LOC_NODE | XP24_EP
HIE_TCZ2 | 250 | 4 | TCZ012 | XP23_EER | Mainline Cross Passage 23 | Contains | LOC_NODE | XP23_EER
HIE_TCZ2 | 249 | 4 | TCZ012 | XP23 | Mainline Cross Passage 23 | Contains | LOC_NODE | XP23_EXD2
HIE_TCZ2 | 248 | 4 | TCZ012 | XP23 | Mainline Cross Passage 23 | Contains | LOC_NODE | XP23_EXD1
HIE_TCZ2 | 247 | 4 | TCZ012 | XP23 | Mainline Cross Passage 23 | Contains | LOC_NODE | XP23_EP
HIE_TCZ2 | 246 | 4 | TCZ012 | TCS112 | Tunnel Zone 12 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 5296.233 | 5416.25
HIE_TCZ2 | 245 | 4 | TCZ012 | TCS112 | Tunnel Zone 12 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 5416.25 | 5536.245
HIE_TCZ2 | 244 | 4 | TCZ012 | TCS012 | Tunnel Zone 12 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 5300.306 | 5420.062
HIE_TCZ2 | 243 | 4 | TCZ012 | TCS012 | Tunnel Zone 12 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 5420.062 | 5540.123
HIE_TCZ2 | 242 | 4 | TCZ011 | XP22 | Mainline Cross Passage 22 | Contains | LOC_NODE | XP22_EXD2
HIE_TCZ2 | 241 | 4 | TCZ011 | XP22 | Mainline Cross Passage 22 | Contains | LOC_NODE | XP22_EXD1
HIE_TCZ2 | 240 | 4 | TCZ011 | XP22 | Mainline Cross Passage 22 | Contains | LOC_NODE | XP22_EP
HIE_TCZ2 | 239 | 4 | TCZ011 | XP21_EER | Mainline Cross Passage 21 | Contains | LOC_NODE | XP21_EER
HIE_TCZ2 | 238 | 4 | TCZ011 | XP21 | Mainline Cross Passage 21 | Contains | LOC_NODE | XP21_EXD2
HIE_TCZ2 | 237 | 4 | TCZ011 | XP21 | Mainline Cross Passage 21 | Contains | LOC_NODE | XP21_EXD1
HIE_TCZ2 | 236 | 4 | TCZ011 | XP21 | Mainline Cross Passage 21 | Contains | LOC_NODE | XP21_EP
HIE_TCZ2 | 235 | 4 | TCZ011 | TCS111 | Tunnel Zone 11 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 5536.245 | 5656.233
HIE_TCZ2 | 234 | 4 | TCZ011 | TCS111 | Tunnel Zone 11 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 5656.233 | 5776.233
HIE_TCZ2 | 233 | 4 | TCZ011 | TCS011 | Tunnel Zone 11 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 5540.123 | 5660.306
HIE_TCZ2 | 232 | 4 | TCZ011 | TCS011 | Tunnel Zone 11 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 5660.306 | 5780.306
HIE_TCZ2 | 231 | 4 | TCZ010 | XP20 | Mainline Cross Passage 20 | Contains | LOC_NODE | XP20_EXD2
HIE_TCZ2 | 230 | 4 | TCZ010 | XP20 | Mainline Cross Passage 20 | Contains | LOC_NODE | XP20_EXD1
HIE_TCZ2 | 229 | 4 | TCZ010 | XP20 | Mainline Cross Passage 20 | Contains | LOC_NODE | XP20_EP
HIE_TCZ2 | 228 | 4 | TCZ010 | XP19_EER | Mainline Cross Passage 19 | Contains | LOC_NODE | XP19_EER
HIE_TCZ2 | 227 | 4 | TCZ010 | XP19 | Mainline Cross Passage 19 | Contains | LOC_NODE | XP19_EXD2
HIE_TCZ2 | 226 | 4 | TCZ010 | XP19 | Mainline Cross Passage 19 | Contains | LOC_NODE | XP19_EXD1
HIE_TCZ2 | 225 | 4 | TCZ010 | XP19 | Mainline Cross Passage 19 | Contains | LOC_NODE | XP19_EP
HIE_TCZ2 | 224 | 4 | TCZ010 | TCS110 | Tunnel Zone 10 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 5776.233 | 5896.233
HIE_TCZ2 | 223 | 4 | TCZ010 | TCS110 | Tunnel Zone 10 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 5896.233 | 6016.272
HIE_TCZ2 | 222 | 4 | TCZ010 | TCS010 | Tunnel Zone 10 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 5780.306 | 5900.306
HIE_TCZ2 | 221 | 4 | TCZ010 | TCS010 | Tunnel Zone 10 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 5900.306 | 6019.732
HIE_TCZ2 | 220 | 4 | TCZ009 | XP18 | Mainline Cross Passage 18 | Contains | LOC_NODE | XP18_EXD2
HIE_TCZ2 | 219 | 4 | TCZ009 | XP18 | Mainline Cross Passage 18 | Contains | LOC_NODE | XP18_EXD1
HIE_TCZ2 | 218 | 4 | TCZ009 | XP18 | Mainline Cross Passage 18 | Contains | LOC_NODE | XP18_EP
HIE_TCZ2 | 217 | 4 | TCZ009 | XP17_EER | Mainline Cross Passage 17 | Contains | LOC_NODE | XP17_EER
HIE_TCZ2 | 216 | 4 | TCZ009 | XP17 | Mainline Cross Passage 17 | Contains | LOC_NODE | XP17_EXD2
HIE_TCZ2 | 215 | 4 | TCZ009 | XP17 | Mainline Cross Passage 17 | Contains | LOC_NODE | XP17_EXD1
HIE_TCZ2 | 214 | 4 | TCZ009 | XP17 | Mainline Cross Passage 17 | Contains | LOC_NODE | XP17_EP
HIE_TCZ2 | 213 | 4 | TCZ009 | VXP01 | Vehicle Cross Passage 01 | Contains | LOC_NODE | VXP01_XP
HIE_TCZ2 | 212 | 4 | TCZ009 | VXP01 | Vehicle Cross Passage 01 | Contains | LOC_NODE | VXP01_VXD2
HIE_TCZ2 | 211 | 4 | TCZ009 | VXP01 | Vehicle Cross Passage 01 | Contains | LOC_NODE | VXP01_VXD1
HIE_TCZ2 | 210 | 4 | TCZ009 | TCS109 | Tunnel Zone 09 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 6016.272 | 6136.373
HIE_TCZ2 | 209 | 4 | TCZ009 | TCS109 | Tunnel Zone 09 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 6136.373 | 6256.474
HIE_TCZ2 | 208 | 4 | TCZ009 | TCS009 | Tunnel Zone 09 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 6019.732 | 6138.259
HIE_TCZ2 | 207 | 4 | TCZ009 | TCS009 | Tunnel Zone 09 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 6138.259 | 6256.789
HIE_TCZ2 | 206 | 4 | TCZ008 | XP16 | Mainline Cross Passage 16 | Contains | LOC_NODE | XP16_EXD2
HIE_TCZ2 | 205 | 4 | TCZ008 | XP16 | Mainline Cross Passage 16 | Contains | LOC_NODE | XP16_EXD1
HIE_TCZ2 | 204 | 4 | TCZ008 | XP16 | Mainline Cross Passage 16 | Contains | LOC_NODE | XP16_EP
HIE_TCZ2 | 203 | 4 | TCZ008 | XP15_EER | Mainline Cross Passage 15 | Contains | LOC_NODE | XP15_EER
HIE_TCZ2 | 202 | 4 | TCZ008 | XP15 | Mainline Cross Passage 15 | Contains | LOC_NODE | XP15_EXD2
HIE_TCZ2 | 201 | 4 | TCZ008 | XP15 | Mainline Cross Passage 15 | Contains | LOC_NODE | XP15_EXD1
HIE_TCZ2 | 200 | 4 | TCZ008 | XP15 | Mainline Cross Passage 15 | Contains | LOC_NODE | XP15_EP
HIE_TCZ2 | 199 | 4 | TCZ008 | TCS108 | Tunnel Zone 08 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 6256.474 | 6376.575
HIE_TCZ2 | 198 | 4 | TCZ008 | TCS108 | Tunnel Zone 08 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 6376.575 | 6496.676
HIE_TCZ2 | 197 | 4 | TCZ008 | TCS008 | Tunnel Zone 08 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 6256.789 | 6375.313
HIE_TCZ2 | 196 | 4 | TCZ008 | TCS008 | Tunnel Zone 08 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 6375.313 | 6493.841
HIE_TCZ2 | 195 | 4 | TCZ007 | XP14 | Mainline Cross Passage 14 | Contains | LOC_NODE | XP14_EXD2
HIE_TCZ2 | 194 | 4 | TCZ007 | XP14 | Mainline Cross Passage 14 | Contains | LOC_NODE | XP14_EXD1
HIE_TCZ2 | 193 | 4 | TCZ007 | XP14 | Mainline Cross Passage 14 | Contains | LOC_NODE | XP14_EP
HIE_TCZ2 | 192 | 4 | TCZ007 | XP13_EER | Mainline Cross Passage 13 | Contains | LOC_NODE | XP13_EER
HIE_TCZ2 | 191 | 4 | TCZ007 | XP13 | Mainline Cross Passage 13 | Contains | LOC_NODE | XP13_EXD2
HIE_TCZ2 | 190 | 4 | TCZ007 | XP13 | Mainline Cross Passage 13 | Contains | LOC_NODE | XP13_EXD1
HIE_TCZ2 | 189 | 4 | TCZ007 | XP13 | Mainline Cross Passage 13 | Contains | LOC_NODE | XP13_EP
HIE_TCZ2 | 188 | 4 | TCZ007 | TCS107 | Tunnel Zone 07 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 6496.676 | 6616.777
HIE_TCZ2 | 187 | 4 | TCZ007 | TCS107 | Tunnel Zone 07 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 6616.777 | 6736.877
HIE_TCZ2 | 186 | 4 | TCZ007 | TCS007 | Tunnel Zone 07 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 6493.841 | 6612.368
HIE_TCZ2 | 185 | 4 | TCZ007 | TCS007 | Tunnel Zone 07 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 6612.368 | 6730.895
HIE_TCZ2 | 184 | 4 | TCZ006 | XP12 | Mainline Cross Passage 12 | Contains | LOC_NODE | XP12_EXD2
HIE_TCZ2 | 183 | 4 | TCZ006 | XP12 | Mainline Cross Passage 12 | Contains | LOC_NODE | XP12_EXD1
HIE_TCZ2 | 182 | 4 | TCZ006 | XP12 | Mainline Cross Passage 12 | Contains | LOC_NODE | XP12_EP
HIE_TCZ2 | 181 | 4 | TCZ006 | XP11_EER | Mainline Cross Passage 11 | Contains | LOC_NODE | XP11_EER
HIE_TCZ2 | 180 | 4 | TCZ006 | XP11 | Mainline Cross Passage 11 | Contains | LOC_NODE | XP11_EXD2
HIE_TCZ2 | 179 | 4 | TCZ006 | XP11 | Mainline Cross Passage 11 | Contains | LOC_NODE | XP11_EXD1
HIE_TCZ2 | 178 | 4 | TCZ006 | XP11 | Mainline Cross Passage 11 | Contains | LOC_NODE | XP11_EP
HIE_TCZ2 | 177 | 4 | TCZ006 | TCS106 | Tunnel Zone 06 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 6736.877 | 6856.978
HIE_TCZ2 | 176 | 4 | TCZ006 | TCS106 | Tunnel Zone 06 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 6856.978 | 6977.079
HIE_TCZ2 | 175 | 4 | TCZ006 | TCS006 | Tunnel Zone 06 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 6730.895 | 6849.422
HIE_TCZ2 | 174 | 4 | TCZ006 | TCS006 | Tunnel Zone 06 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 6849.422 | 6967.95
HIE_TCZ2 | 173 | 4 | TCZ005 | XP10 | Mainline Cross Passage 10 | Contains | LOC_NODE | XP10_EXD2
HIE_TCZ2 | 172 | 4 | TCZ005 | XP10 | Mainline Cross Passage 10 | Contains | LOC_NODE | XP10_EXD1
HIE_TCZ2 | 171 | 4 | TCZ005 | XP10 | Mainline Cross Passage 10 | Contains | LOC_NODE | XP10_EP
HIE_TCZ2 | 170 | 4 | TCZ005 | XP09_EER | Mainline Cross Passage 09 | Contains | LOC_NODE | XP09_EER
HIE_TCZ2 | 169 | 4 | TCZ005 | XP09 | Mainline Cross Passage 09 | Contains | LOC_NODE | XP09_EXD2
HIE_TCZ2 | 168 | 4 | TCZ005 | XP09 | Mainline Cross Passage 09 | Contains | LOC_NODE | XP09_EXD1
HIE_TCZ2 | 167 | 4 | TCZ005 | XP09 | Mainline Cross Passage 09 | Contains | LOC_NODE | XP09_EP
HIE_TCZ2 | 166 | 4 | TCZ005 | TCS105 | Tunnel Zone 05 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 6977.079 | 7097.18
HIE_TCZ2 | 165 | 4 | TCZ005 | TCS105 | Tunnel Zone 05 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 7097.18 | 7217.28
HIE_TCZ2 | 164 | 4 | TCZ005 | TCS005 | Tunnel Zone 05 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 6967.95 | 7086.477
HIE_TCZ2 | 163 | 4 | TCZ005 | TCS005 | Tunnel Zone 05 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 7086.477 | 7205.019
HIE_TCZ2 | 162 | 4 | TCZ004 | XP08 | Mainline Cross Passage 08 | Contains | LOC_NODE | XP08_EXD2
HIE_TCZ2 | 161 | 4 | TCZ004 | XP08 | Mainline Cross Passage 08 | Contains | LOC_NODE | XP08_EXD1
HIE_TCZ2 | 160 | 4 | TCZ004 | XP08 | Mainline Cross Passage 08 | Contains | LOC_NODE | XP08_EP
HIE_TCZ2 | 159 | 4 | TCZ004 | XP07_EER | Mainline Cross Passage 07 | Contains | LOC_NODE | XP07_EER
HIE_TCZ2 | 158 | 4 | TCZ004 | XP07 | Mainline Cross Passage 07 | Contains | LOC_NODE | XP07_EXD2
HIE_TCZ2 | 157 | 4 | TCZ004 | XP07 | Mainline Cross Passage 07 | Contains | LOC_NODE | XP07_EXD1
HIE_TCZ2 | 156 | 4 | TCZ004 | XP07 | Mainline Cross Passage 07 | Contains | LOC_NODE | XP07_EP
HIE_TCZ2 | 155 | 4 | TCZ004 | TCS104 | Tunnel Zone 04 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 7217.28 | 7337.295
HIE_TCZ2 | 154 | 4 | TCZ004 | TCS104 | Tunnel Zone 04 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 7337.295 | 7457.295
HIE_TCZ2 | 153 | 4 | TCZ004 | TCS004 | Tunnel Zone 04 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 7205.019 | 7324.806
HIE_TCZ2 | 152 | 4 | TCZ004 | TCS004 | Tunnel Zone 04 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 7324.806 | 7444.806
HIE_TCZ2 | 151 | 4 | TCZ003 | XP06 | Mainline Cross Passage 06 | Contains | LOC_NODE | XP06_EXD2
HIE_TCZ2 | 150 | 4 | TCZ003 | XP06 | Mainline Cross Passage 06 | Contains | LOC_NODE | XP06_EXD1
HIE_TCZ2 | 149 | 4 | TCZ003 | XP06 | Mainline Cross Passage 06 | Contains | LOC_NODE | XP06_EP
HIE_TCZ2 | 148 | 4 | TCZ003 | XP05_EER | Mainline Cross Passage 05 | Contains | LOC_NODE | XP05_EER
HIE_TCZ2 | 147 | 4 | TCZ003 | XP05 | Mainline Cross Passage 05 | Contains | LOC_NODE | XP05_EXD2
HIE_TCZ2 | 146 | 4 | TCZ003 | XP05 | Mainline Cross Passage 05 | Contains | LOC_NODE | XP05_EXD1
HIE_TCZ2 | 145 | 4 | TCZ003 | XP05 | Mainline Cross Passage 05 | Contains | LOC_NODE | XP05_EP
HIE_TCZ2 | 144 | 4 | TCZ003 | TCS103 | Tunnel Zone 03 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 7457.295 | 7577.295
HIE_TCZ2 | 143 | 4 | TCZ003 | TCS103 | Tunnel Zone 03 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 7577.295 | 7696.998
HIE_TCZ2 | 142 | 4 | TCZ003 | TCS003 | Tunnel Zone 03 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 7444.806 | 7564.806
HIE_TCZ2 | 141 | 4 | TCZ003 | TCS003 | Tunnel Zone 03 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 7564.806 | 7684.872
HIE_TCZ2 | 140 | 4 | TCZ002 | XP04 | Mainline Cross Passage 04 | Contains | LOC_NODE | XP04_EXD2
HIE_TCZ2 | 139 | 4 | TCZ002 | XP04 | Mainline Cross Passage 04 | Contains | LOC_NODE | XP04_EXD1
HIE_TCZ2 | 138 | 4 | TCZ002 | XP04 | Mainline Cross Passage 04 | Contains | LOC_NODE | XP04_EP
HIE_TCZ2 | 137 | 4 | TCZ002 | XP03_EER | Mainline Cross Passage 03 | Contains | LOC_NODE | XP03_EER
HIE_TCZ2 | 136 | 4 | TCZ002 | XP03 | Mainline Cross Passage 03 | Contains | LOC_NODE | XP03_EXD2
HIE_TCZ2 | 135 | 4 | TCZ002 | XP03 | Mainline Cross Passage 03 | Contains | LOC_NODE | XP03_EXD1
HIE_TCZ2 | 134 | 4 | TCZ002 | XP03 | Mainline Cross Passage 03 | Contains | LOC_NODE | XP03_EP
HIE_TCZ2 | 133 | 4 | TCZ002 | TCS102 | Tunnel Zone 02 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 7696.998 | 7814.755
HIE_TCZ2 | 132 | 4 | TCZ002 | TCS102 | Tunnel Zone 02 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 7814.755 | 7932.539
HIE_TCZ2 | 131 | 4 | TCZ002 | TCS002 | Tunnel Zone 02 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 7684.872 | 7805.004
HIE_TCZ2 | 130 | 4 | TCZ002 | TCS002 | Tunnel Zone 02 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 7805.004 | 7925.169
HIE_TCZ2 | 129 | 4 | TCZ001 | XP02_EER | Mainline Cross Passage 02 | Contains | LOC_NODE | XP02_EER
HIE_TCZ2 | 128 | 4 | TCZ001 | XP02 | Mainline Cross Passage 02 | Contains | LOC_NODE | XP02_EXD2
HIE_TCZ2 | 127 | 4 | TCZ001 | XP02 | Mainline Cross Passage 02 | Contains | LOC_NODE | XP02_EXD1
HIE_TCZ2 | 126 | 4 | TCZ001 | XP02 | Mainline Cross Passage 02 | Contains | LOC_NODE | XP02_EP
HIE_TCZ2 | 125 | 4 | TCZ001 | XP01_EER | Mainline Cross Passage 01 | Contains | LOC_NODE | XP01_EER
HIE_TCZ2 | 124 | 4 | TCZ001 | XP01 | Mainline Cross Passage 01 | Contains | LOC_NODE | XP01_EXD2
HIE_TCZ2 | 123 | 4 | TCZ001 | XP01 | Mainline Cross Passage 01 | Contains | LOC_NODE | XP01_EXD1
HIE_TCZ2 | 122 | 4 | TCZ001 | XP01 | Mainline Cross Passage 01 | Contains | LOC_NODE | XP01_EP
HIE_TCZ2 | 121 | 4 | TCZ001 | TCS101 | Tunnel Zone 01 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 7932.539 | 8050.346
HIE_TCZ2 | 120 | 4 | TCZ001 | TCS101 | Tunnel Zone 01 Tunnel Section 2 (M120) | Contains_Between | LOC_NODE | ML SB_ROAD | Chainage | 8050.346 | 8168.166
HIE_TCZ2 | 119 | 4 | TCZ001 | TCS001 | Tunnel Zone 01 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 7925.169 | 8045.318
HIE_TCZ2 | 118 | 4 | TCZ001 | TCS001 | Tunnel Zone 01 Tunnel Section 1 (M110) | Contains_Between | LOC_NODE | ML NB_ROAD | Chainage | 8045.318 | 8165.466
HIE_TCZ2 | 40 | 4 | PRVF | PRVF_VST_EXHAUST | PRVF Exhaust Vent Stack | Contains | LOC_NODE | PRVF_VST_EXHAUST
HIE_TCZ2 | 39 | 4 | PRVF | PRVF_SS_STR_L00-B01 | PRVF Supply Shaft - Stairwell L00 - B01 | Contains | LOC_NODE | PRVF_SS_STR_L00-B01
HIE_TCZ2 | 38 | 4 | PRVF | PRVF_SS_STR_B03-B04 | PRVF Supply Shaft - Stairwell B03 - B04 | Contains | LOC_NODE | PRVF_SS_STR_B03-B04
HIE_TCZ2 | 37 | 4 | PRVF | PRVF_SS_STR_B02-B03 | PRVF Supply Shaft - Stairwell B02 - B03 | Contains | LOC_NODE | PRVF_SS_STR_B02-B03
HIE_TCZ2 | 36 | 4 | PRVF | PRVF_SS_STR_B01-B02 | PRVF Supply Shaft - Stairwell B01 - B02 | Contains | LOC_NODE | PRVF_SS_STR_B01-B02
HIE_TCZ2 | 35 | 4 | PRVF | PRVF_SS_R01 | PRVF Supply Shaft - R01 Roof Level | Contains | LOC_NODE | PRVF_SS_R01
HIE_TCZ2 | 34 | 4 | PRVF | PRVF_SS_L03 | PRVF Supply Shaft - L03 Maintenance Gangway | Contains | LOC_NODE | PRVF_SS_L03
HIE_TCZ2 | 33 | 4 | PRVF | PRVF_SS_L02 | PRVF Supply Shaft - L02 Podium Roof Level | Contains | LOC_NODE | PRVF_SS_L02
HIE_TCZ2 | 32 | 4 | PRVF | PRVF_SS_L01 | PRVF Supply Shaft - L01 Entrance Roof Level | Contains | LOC_NODE | PRVF_SS_L01
HIE_TCZ2 | 31 | 4 | PRVF | PRVF_SS_L00 | PRVF Supply Shaft - L00 Ground Floor Level | Contains | LOC_NODE | PRVF_SS_L00
HIE_TCZ2 | 30 | 4 | PRVF | PRVF_SS_B04 | PRVF Supply Shaft - B04 Basement Level | Contains | LOC_NODE | PRVF_SS_B04
HIE_TCZ2 | 29 | 4 | PRVF | PRVF_SS_B03 | PRVF Supply Shaft - B03 Basement Level (Fan) | Contains | LOC_NODE | PRVF_SS_B03
HIE_TCZ2 | 28 | 4 | PRVF | PRVF_SS_B02 | PRVF Supply Shaft - B02 Basement Level (Attenuator) | Contains | LOC_NODE | PRVF_SS_B02
HIE_TCZ2 | 27 | 4 | PRVF | PRVF_SS_B01 | PRVF Supply Shaft - B01 Basement Level (Damper) | Contains | LOC_NODE | PRVF_SS_B01
HIE_TCZ2 | 26 | 4 | PRVF | PRVF_FTANK | PRVF Deluge Tank Area | Contains | LOC_NODE | PRVF_FTANK
HIE_TCZ2 | 25 | 4 | PRVF | PRVF_FPR_S3 | PRVF Fire Pump Room - Stage 3 | Contains | LOC_NODE | PRVF_FPR_S3
HIE_TCZ2 | 24 | 4 | PRVF | PRVF_FPR_S1B | PRVF Fire Pump Room - Stage 1B | Contains | LOC_NODE | PRVF_FPR_S1B
HIE_TCZ2 | 23 | 4 | PRVF | PRVF_E3_STR_L00-B01 | PRVF Exhaust Stage 3 - Stairwell L00 - B01 | Contains | LOC_NODE | PRVF_E3_STR_L00-B01
HIE_TCZ2 | 22 | 4 | PRVF | PRVF_E3_STR_B03-B04 | PRVF Exhaust Stage 3 - Stairwell B03 - B04 | Contains | LOC_NODE | PRVF_E3_STR_B03-B04
HIE_TCZ2 | 21 | 4 | PRVF | PRVF_E3_STR_B02-B03 | PRVF Exhaust Stage 3 - Stairwell B02 - B03 | Contains | LOC_NODE | PRVF_E3_STR_B02-B03
HIE_TCZ2 | 20 | 4 | PRVF | PRVF_E3_STR_B01-B02 | PRVF Exhaust Stage 3 - Stairwell B01 - B02 | Contains | LOC_NODE | PRVF_E3_STR_B01-B02
HIE_TCZ2 | 19 | 4 | PRVF | PRVF_E3_R01 | PRVF Exhaust Stage 3 - R01 Roof Level | Contains | LOC_NODE | PRVF_E3_R01
HIE_TCZ2 | 18 | 4 | PRVF | PRVF_E3_L03 | PRVF Exhaust Stage 3 - L03 Maintenance Gangway | Contains | LOC_NODE | PRVF_E3_L03
HIE_TCZ2 | 17 | 4 | PRVF | PRVF_E3_L02 | PRVF Exhaust Stage 3 - L02 Podium Roof Level | Contains | LOC_NODE | PRVF_E3_L02
HIE_TCZ2 | 16 | 4 | PRVF | PRVF_E3_L01 | PRVF Exhaust Stage 3 - L01 Entrance Roof Level | Contains | LOC_NODE | PRVF_E3_L01
HIE_TCZ2 | 15 | 4 | PRVF | PRVF_E3_L00 | PRVF Exhaust Stage 3 - L00 Ground Floor Level | Contains | LOC_NODE | PRVF_E3_L00
HIE_TCZ2 | 14 | 4 | PRVF | PRVF_E3_B04 | PRVF Exhaust Stage 3 - B04 Basement Level | Contains | LOC_NODE | PRVF_E3_B04
HIE_TCZ2 | 13 | 4 | PRVF | PRVF_E3_B03 | PRVF Exhaust Stage 3 - B03 Basement Level (Fan) | Contains | LOC_NODE | PRVF_E3_B03
HIE_TCZ2 | 12 | 4 | PRVF | PRVF_E3_B02 | PRVF Exhaust Stage 3 - B02 Basement Level (Attenuator) | Contains | LOC_NODE | PRVF_E3_B02
HIE_TCZ2 | 11 | 4 | PRVF | PRVF_E3_B01 | PRVF Exhaust Stage 3 - B01 Basement Level (Damper) | Contains | LOC_NODE | PRVF_E3_B01
HIE_TCZ2 | 10 | 4 | ESS06 | ESS06 | Electrical Substation Building 6 | Contains | LOC_AREA | ESS06
HIE_TCZ2 | 9 | 4 | ESS05 | ESS05 | Electrical Substation Building 5 | Contains | LOC_AREA | ESS05
HIE_TCZ2 | 8 | 4 | ESS04 | ESS04 | Electrical Substation Building 4 | Contains | LOC_AREA | ESS04
HIE_TCZ2 | 7 | 4 | ESS03 | ESS03 | Electrical Substation Building 3 | Contains | LOC_AREA | ESS03
HIE_TCZ2 | 6 | 4 | ESS02 | ESS02 | Electrical Substation Building 2 | Contains | LOC_AREA | ESS02
HIE_TCZ2 | 5 | 4 | ESS01 | ESS01 | Electrical Substation Building 1 | Contains | LOC_AREA | ESS01 |  | 2323 | 3232